## Matrix
Item # | User Needs Intended Uses | Design Inputs (Technical Requirement) | Acceptance Criteria Ideal/Goal Limit | Design Outputs | Essential Design Outputs (Check if essential) | Design Verification (Outputs = Inputs) | Design Validation (User Needs Met)
1 | Customer Requirements (e.g. Functional)
1.1 | The device does not require instructions to understand how operate.
1.2 | The device costs under $200.
1.3 | The device does not wake parent(s) up when in use.
1.4 | The device is compact and fits inside of a medium-sized bag.
1.5 | The device can be washed.
1.6 | The device plays an alarm when infant cries for more than 15 minutes.
1.7 | The device lasts for at least 2 years.
1.8 | The device gives easy access for breastfeeding and bottlefeeding.
1.9 | The device can be charged with a cable.
2 | Product Performance Requirements (e.g.Mechanical)
2.1 | The device mimics the heart beat of the mother.
2.2 | The device indicates when it needs to be charged.
2.3 | The device heats up to normal infant body temperatures
2.4 | The device secures the baby so that the baby cannot unravel its arms or rest of the body.
2.5 | The device mimics the feeling of being swaddled.
3 | Biocompatability Requirements
3.1 | The device does not irritate the skin.
3.2 | The device must not have easily removed parts that can be swallowed.
3.3 | The device does not contain sharp edges.
3.4 | The device is nontoxic.
3.5 | The device must be delivered to the customer previously cleaned.
4 | Reuglatory Requirements
4.1 | The device must meet the basic standards of this specification as approved by the FDA.
4.2 | The device must be safe around the cradle and must not include sharp edges, small parts, unintentional folding, and other such dangerous parts
4.3 | The device must include a visible warning label that clearly states all the warnings involved with the product.
4.4 | The device must not cause any entrapment of the baby.
4.5 | The device must be secured in its location so that it cannot fall or trap the baby
5 | Interfaces with Other Systems
5.1 | The device can be controlled using Bluetooth on a mobile device through on application.
5.2 | The device is compatible with baby monitoring systems.
5.3
6 | Other
6.1 | The device comes in a variety of colors and patterns.
6.2 | The device can be customized.
6.3 | The device comes in a variety of sizes.

## Definitions
Essential Rquirements: Provide essential safety and performance criteria.