## Sheet1
Tracebility Matrix | Project Name:Baby Soothers | DHF: Date 27FEB2022 | Page 1 of 1
Item # | User Needs Intended Uses | Design Inputs (Technical Requirement) | Acceptance Criteria Ideal/Goal Limit | Design Outputs | Design Verification (Outputs = Inputs) | Design Validation (User Needs Met)
1 | Customer Requirements (e.g. Functional)
1.1 | The device is simple to use.
1.2 | The device is low cost.
1.3 | The device does not wake parent(s) up when in use.
1.4 | The device is travel-friendly.
1.5 | The device can be washed.
1.6 | The device lasts for a duration of infancy.
1.7 | The device does not interfere with feeding and diaper changes.
1.8 | The device is ready to use nightly.
2 | Product Performance Requirements (e.g.Mechanical)
2.1 | The device soothes the baby.
2.2 | The device secures the baby so that the baby cannot unravel itself.
2.3 | The device is not loud.
2.4 | The device notifies parent(s) if the baby does not stop crying or fussing.
3 | Biocompatability Requirements
3.1 | The device does not irritate the skin.
3.2 | The device must not have easily removed parts.
3.3 | The device does not harm the baby.
3.4 | The device is nontoxic.
4 | Reuglatory Requirements
4.1 | The device must meet the basic standards of this specification as approved by the FDA.
4.2 | The device must be safe around the cradle.
4.3 | The device must include a visible warning label that clearly states all the warnings involved with the product.
4.4 | The device must not cause any entrapment of the baby.
5 | Interfaces with Other Systems
5.1 | The device can be controlled using Bluetooth.
5.2 | The device is compatible with baby monitoring systems.
5.3
6 | Other
6.1 | The device comes in a variety of colors and patterns.
6.2 | The device can be customized.
6.3 | The device comes in a variety of sizes.